## LoadCell_details_coord_UTM33.tx
ObjectID | LC_ID | Instrument type | Azimuth (±10°) | Tilt (°) | Record_start | Record_end | Calibration ID | Cal. function | Cal. Param. f_0 | Cal. Param. A | Cal. Param. B/K | Max nonlinearity error | Record_start | Record_end | New LC_ID | Calibration ID | Cal. function | Cal. Param. f_0 | Cal. Param. A | Cal. Param. B/K | Max nonlinearity error | Projection | X (m) | Y (m) | Projection2 | X2 (m) | Y2 (m) | Z (m) | Dist. from LC6 (m) | Elev. from LC6 (m)
1 | LC1e | P-105 | 180 | 31 | 1992.12.11 | 2012.03.19 | 36892 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1157.3 | 0.033447 | 1.7806e-05 | 0.36% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | 25619.41 | 966616.725 | UTM33w | 446816.5071 | 7395459.3651 | 630.71 | 15.302 | 0.1
2 | LC01 | P-105 | - | - | 2001.03.20 | 2002.04.21 | 37892 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1239 | 0.035903 | 1.7072e-05 | 0.15% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | - | - | UTM33w | 384430.1631 | 6420486.1013 | - | - | -
3 | LC2a | P-100 | 170 | 13 | 1992.12.09 | 1998.03.13 | 34892 | P(bar)=K* ( f_0^2 - f(Hz)^2 ) + A | 1106 | -0.32367 | -9.0971e-06 | 0.69% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | 25611.18 | 966617.813 | UTM33w | 446808.3145 | 7395460.6866 | 632.59 | 7.1657 | 1.98
4 | LC2b | P-105 | - | 0 | 1992.12.09 | 1998.03.13 | 36792 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1178 | 0.030418 | 1.5622e-05 | 0.74% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | 25613.641 | 966616.125 | UTM33w | 446810.7255 | 7395458.9298 | 632.53 | 10.1151 | 1.92
5 | LC4 | P-100 | 170 | 125 | 1992.12.09 | - | 34792 | P(bar)=K* ( f_0^2 - f(Hz)^2 ) + A | 1105 | -0.31762 | -9.0465e-06 | 0.85% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | 25604.641 | 966621.188 | UTM33w | 446801.8767 | 7395464.2452 | 631.73 | 0.43784 | 1.12
6 | LC6 | P-100 | 140 | 12 | 1992.12.09 | - | 34992 | P(bar)=K* ( f_0^2 - f(Hz)^2 ) + A | 1061.5 | -0.32476 | -9.2248e-06 | 0.69% of full range | - | - |  | - | - | - | - | - | - | NGO1948zoneIV | 25604.641 | 966620.75 | UTM33w | 446801.8642 | 7395463.8076 | 630.61 | 0 | 0
7 | LC7 | P-105 | 190 | 13 | 1992.12.09 | 2001.20.03 | 36992 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1115 | 0.034447 | 1.7081e-05 | 0.34% of full range | 2003.11.11 | 2008.06.19 | LC7 | 37992 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1196.3 | 0.035838 | 1.6298e-05 | 0.28% of full range | NGO1948zoneIV | 25616.859 | 966614.813 | UTM33w | 446813.9037 | 7395457.5272 | 630.85 | 13.5791 | 0.24
8 | LC97_1 | P-105 | 250 | 9 | 1997.11.13 | 2010.07.11 | 37692 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1230 | 0.037328 | 1.8126e-05 | 0.10% of full range | 2012.03.24 | - | LC12_2 | 38092 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1176 | 0.036126 | 1.6411e-05 | 0.62% of full range | NGO1948zoneIV | 25625.039 | 966614.477 | UTM33w | 446822.0678 | 7395456.9585 | 630.7 | 21.3329 | 0.09
9 | LC97_2 | P-105 | 250 | 14 | 1997.11.13 | 2011.12.14 | 38292 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1191.8 | 0.035271 | 1.6882e-05 | 0.18% of full range | 2012.03.24 | - | LC12_1 | 37092 | P(bar)=A* (f(Hz) - f_0) + B* (f(Hz) - f_0) ^2 | 1150.6 | 0.036585 | 1.5352e-05 | 0.40% of full range | NGO1948zoneIV | 25624.724 | 966614.317 | UTM33w | 446821.7484 | 7395456.8076 | 630.6 | 21.0804 | -0.01