## Next visit should be...
# days capacity in SM | 177.746
Last download | 1997-11-24 18:30
Must download before | 1998-05-21 12:24

## RAWDATA
|  |  |  | Storage module | [7 empty] | 7 |  |  | DATA: |  | * The instruction # in the logger program responsible for saving the data is always in position #1.
|  |  |  | Final storage data points | [12 empty] | The remaining positions correspond to the particular measurement indicated in the columns
|  |  | SM716 | 358336 | SM192 | 96448
[16 empty] | Time |  |  |  | Misc. | [5 empty] | Load Cells | [7 empty] | Press. Sens. | [7 empty] | Neal's Bump
| Date logger | Storage module # |  | # of |  |  | Storage | Date/Time |  |  |  | Record length |  | Recording interval (sec) | Position 1 * | Year | Julian day | Hr/Min | Seconds | Battery Voltage | Logger Temperature | Erosion Sensor | Slide-o-meter | Close-o-meter | Unknown data | Geonor 34792 Hole #4 | Geonor 34992 Hole # 6 | Geonor 34892 Hole # 2a | Geonor 34792 Hole # 2b | Geonor 36992 Hole # 7 | Geonor 36892 Hole # 1e | Geonor 37692 Hole # 97-1 | Geonor 38292 Hole # 97-2 | Wika 1292 (old) W2-PT1 | Wika 1292 (old) Hole 4 | Wika ???? (new) W2-PT1 | Wika ???? (new) Hole 1 | 10 bar PT | 25 bar PT | Jumo 9302728 Hole 3 | Jumo 9302738 Hole 5 | Pressure #1 | Pressure #2 | Pressure #3 | Pressure #4 | Pressure #5 | Excitation voltage 1 | Excitation voltage 2 | Roller potentiometer | Swing arm potentiometer | Thermistor # 1 | Thermistor # 2 | Thermistor # 3 | Thermistor # 4 | Thermistor # 5 | Thermistor # 6
YEAR | was emptied | From: | To: | records | FILENAME | Logger | module | From: |  | To: |  | Days | Hours | [43 empty] | Comments
1992 |  | 2 | 29910 | 29908 | 1 | CR10-1 |  | 344 | 4:00 | 344 | 10:00 | 0 | 6 | 3600 | 202 | 2 | 3 | 4 | [6 empty] | 5..8 | [31 empty] | Erik Blake might know about these first few data points. Aren't many so probably not all that important.
1992 | [7 empty] | 344 | 4:00 | 48 | 22:00 | 69 | 18 | 3600 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 29910 | 30109 | 199 | 2 | CR10-1 |  | 48 | 23:00 | 49 | 9:00 | 0 | 10 | 3600 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 30109 | 44978 | 14869 | 3 | CR10-1 |  | 49 | 10:00 | 83 | 19:00 | 34 | 9 | 3600 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 44978 | 44997 | 19 | 4 | CR10-1 |  | 83 | 20:00 | 83 | 20:00 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 44997 | 49354 | 4357 | 5 | CR10-1 |  | 83 | 20:30 | 86 | 8:45 | 2 | 12.25 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 49354 | 49373 | 19 | 6 | CR10-1 |  | 86 | 9:00 | 86 | 9:00 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 49373 | 49392 | 19 | 7 | CR10-1 |  | 86 | 9:15 | 86 | 9:15 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 49392 | 49411 | 19 | 8 | CR10-1 |  | 86 | 9:30 | 86 | 9:30 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 49411 | 50079 | 668 | 9 | CR10-1 |  | 86 | 10:00 | 86 | 17:00 | 0 | 7 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 86 | 10:00 | 86 | 17:00 | 0 | 7 | 900 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 50079 | 52058 | 1979 | 10 | CR10-1 |  | 86 | 17:15 | 87 | 14:30 | 0 | 21.25 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 86 | 17:15 | 87 | 14:30 | 0 | 21.25 | 900 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 52058 | 53784 | 1726 | 11 | CR10-1 |  | 87 | 14:45 | 88 | 9:15 | 0 | 18.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 87 | 14:45 | 88 | 9:15 | 0 | 18.5 | 900 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 53784 | 54360 | 576 | 12 | CR10-1 |  | 88 | 9:30 | 88 | 15:30 | 0 | 6 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 9:30 | 88 | 15:30 | 0 | 6 | 900 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 54360 | 54680 | 320 | 13 | CR10-1 |  | 88 | 15:45 | 88 | 16:15 | 0 | 0.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 15:35 | 88 | 16:27 | 0 | 0.87 | 60 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 54680 | 54721 | 41 | 14 | CR10-1 |  | 88 | 16:28 | 88 | 16:29 | 0 | 0.02 | 10 | 202 | 2 | 3 | 4 | [15 empty] | 5
1993 |  | 54721 | 54998 | 277 | 15 | CR10-1 |  | 88 | 16:30 | 88 | 16:30 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 16:30 | 88 | 16:37 | 0 | 0.13 | 10 | 202 | 2 | 3 | 4 | 5 | [14 empty] | 6
1993 |  | 54998 | 55545 | 547 | 16 | CR10-1 |  | 88 | 16:45 | 88 | 17:15 | 0 | 0.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 16:43 | 88 | 17:25 | 0 | 0.7 | 10 | 202 | 2 | 3 | 4 | 5 | [14 empty] | 6
1993 |  | 55545 | 56350 | 805 | 17 | CR10-1 |  | 88 | 17:30 | 88 | 18:15 | 0 | 0.75 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 17:26 | 88 | 18:28 | 0 | 1.04 | 10 | 202 | 2 | 3 | 4 | 5 | [14 empty] | 6
1993 |  | 56350 | 56447 | 97 | 18 | CR10-1 |  | 88 | 18:30 | 88 | 19:15 | 0 | 0.75 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 | [7 empty] | 88 | 18:30 | 88 | 19:15 | 0 | 0.75 | 900 | 202 | 2 | 3 | 4 | 5 | [14 empty] | 6
1993 |  | 56447 | 56528 | 81 | 19 | CR10-1 |  | 88 | 19:45 | 88 | 20:30 | 0 | 0.75 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 56528 | 87629 | 31101 | 20 | CR10-1 |  | 88 | 20:45 | 104 | 20:45 | 16 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 87629 | 89090 | 1461 | 21 | CR10-1 |  | 104 | 21:00 | 105 | 19:30 | 0 | 22.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 89090 | 95871 | 6781 | 22 | CR10-1 |  | 105 | 19:45 | 109 | 8:15 | 3 | 12.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 95871 | 98032 | 2161 | 23 | CR10-1 |  | 109 | 8:30 | 110 | 11:15 | 1 | 2.75 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 98032 | 98053 | 21 | 24 | CR10-1 |  | 110 | 11:30 | 110 | 11:30 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 98053 | 98074 | 21 | 25 | CR10-1 |  | 110 | 11:45 | 110 | 11:45 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 98074 | 99895 | 1821 | 26 | CR10-1 |  | 110 | 12:15 | 111 | 10:45 | 0 | 22.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 99895 | 99916 | 21 | 27 | CR10-1 |  | 111 | 11:00 | 111 | 11:00 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 13
1993 |  | 99916 | 99935 | 19 | 28 | CR10-1 |  | 111 | 11:15 | 111 | 11:15 | 0 | 0 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 99935 | 107299 | 7364 | 29 | CR10-2 |  | 111 | 12:45 | 113 | 14:00 | 2 | 1.25 | 900 | 122 |  | 2 | 3 |  | 19 |  |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | First data line recorded before clock set properly. Clock was set improperly: between now and 129 23:58 the CR10-2 is on summer time 1 hour ahead of logger CR10-1
1993 |  | 107299 | 161246 | 53947 | 30 | CR10-2 |  | 113 | 14:15 | 128 | 18:30 | 15 | 4.25 | 900 | 122 |  | 2 | 3 |  | 19 |  |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | For some reason the logger decided to split a single file into two-this one and the above one, even though no one was around to fiddle with the logger.
1993 |  | 161246 | 161284 | 38 | 31 | CR10-2 |  | 128 | 18:45 | 128 | 18:45 | 0 | 0 | 900 | 122 |  | 2 | 3 |  | 19 |  |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 161284 | 191129 | 29845 | 32 | CR10-1 |  | 111 | 11:30 | 128 | 17:45 | 17 | 6.25 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12
1993 |  | 191129 | 194941 | 3812 | 33 | CR10-2 |  | 128 | 19:00 | 129 | 20:30 | 1 | 1.5 | 900 | 122 |  | 2 | 3 |  | 19 |  |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 194941 | 195200 | 259 | 34 | CR10-2 |  | 129 | 20:45 | 129 | 22:15 | 0 | 1.5 | 900 | 122 |  | 2 | 3 |  | 19 |  |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 195200 | 195303 | 103 | 35 | CR10-2 |  | 129 | 22:30 | 129 | 23:00 | 0 | 0.5 | 900 | 122 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 195303 | 195355 | 52 | 36 | CR10-2 |  | 0 | 0:30 | 0 | 0:30 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | Data from when Pete is starting to reprogram the logger. Real time unknown
1993 |  | 195355 | 195397 | 42 | 37 | CR10-2 |  | 0 | 0:30 | 0 | 0:30 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | Data from when Pete is starting to reprogram the logger. Real time unknown
1993 |  | 195397 | 195685 | 288 | 38 | CR10-2 |  | 129 | 23:00 | 130 | 0:30 | 0 | 1.5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | !!! CR10-2 is now on winter time, the same as CR10-1
1993 |  | 195685 | 195727 | 42 | 39 | CR10-2 |  | 130 | 0:45 | 130 | 0:45 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 195727 | 197934 | 2207 | 40 | CR10-1 |  | 128 | 18:00 | 129 | 21:30 | 1 | 3.5 | 900 | 113 | 2 | 3 | 4 |  | 5 | 6 |  |  |  |  | 7 | 8 | 9 | 10 | 11 | 12 | [25 empty] | Last 13 lines of data are missing Battery Voltage and Logger Temp data. Accordingly, all data shifted by 2 columns. Logger's fault: failed to insert a file marker after reprogramming.
1993 | [7 empty] | 129 | 21:45 | 130 | 0:45 | 0 | 3 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10
1993 |  | 197934 | 261936 | 64002 | 41 | CR10-2 |  | 130 | 1:00 | 146 | 7:00 | 16 | 6 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 261936 | 286913 | 24977 | 42 | CR10-1 |  | 130 | 1:00 | 146 | 7:00 | 16 | 6 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10
1993 |  | 286913 | 287406 | 493 | 43 | CR10-2 |  | 146 | 7:15 | 146 | 10:00 | 0 | 2.75 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 287406 | 287599 | 193 | 44 | CR10-1 |  | 146 | 7:15 | 146 | 10:00 | 0 | 2.75 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10
1993 |  | 287599 | 287632 | 33 | 45 | CR10-1 |  | 146 | 10:15 | 146 | 10:30 | 0 | 0.25 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10
1993 |  | 287632 | 287649 | 17 | 46 | CR10-1 |  | 146 | 10:46 | 146 | 10:46 | 0 | 0 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10 | [25 empty] | Junk data, all 99999
1993 |  | 287649 | 287666 | 17 | 47 | CR10-1 |  | 146 | 10:46 | 146 | 10:46 | 0 | 0 | 900 | 111 | 2 | 3 | 4 | [7 empty] | 5 | 6 | 7 | 8 | 9 | 10 | [25 empty] | Junk data, all 99999
1993 |  | 287666 | 287820 | 154 | 48 | CR10-2 |  | 146 | 11:00 | 146 | 11:30 | 0 | 0.5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 146 | 11:15 | 146 | 11:31 | 0 | 0.27 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 287820 | 297341 | 9521 | 49 | CR10-2 |  | 146 | 11:45 | 148 | 6:00 | 1 | 18.25 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 146 | 11:46 | 148 | 6:00 | 1 | 18.23 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 297341 | 298226 | 885 | 50 | CR10-1 |  | 0 | 0:15 | 0 | 17:00 | 0 | 16.75 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | Record starts 147 (5/27/93) 14:15. Clock was not set properly, hence startup date/time 0/0/0 00:00. Between 19:45 and 20:15 (my watch), the new Wika is moved to hole 1.
1993 |  | 298226 | 298507 | 281 | 51 | CR10-2 |  | 148 | 6:15 | 148 | 7:15 | 0 | 1 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 148 | 6:15 | 148 | 7:15 | 0 | 1 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 298507 | 298573 | 66 | 52 | CR10-1 |  | 0 | 17:15 | 0 | 18:15 | 0 | 1 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | This record is a continuation of DATA050.DAT, so the date/time actually starts at 148 (5/28/93) 07:15.
1993 |  | 298573 | 298686 | 113 | 53 | CR10-2 |  | 148 | 7:30 | 148 | 7:45 | 0 | 0.25 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 148 | 7:30 | 148 | 7:45 | 0 | 0.25 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 298686 | 299527 | 841 | 54 | CR10-2 |  | 148 | 8:00 | 148 | 11:30 | 0 | 3.5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 148 | 8:00 | 148 | 11:30 | 0 | 3.5 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 299527 | 300760 | 1233 | 55 | CR10-2 |  | 148 | 11:45 | 148 | 17:00 | 0 | 5.25 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 148 | 11:45 | 148 | 17:00 | 0 | 5.25 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 300760 | 300956 | 196 | 56 | CR10-1 |  | 0 | 0:15 | 0 | 3:45 | 0 | 3.5 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | Uncertain when this record starts as logger was reset again w/o resetting clock. I estimate that the record goes from 148 (5/28/93) 13:30-17:00
1993 |  | 300956 | 304597 | 3641 | 57 | CR10-2 |  | 148 | 17:15 | 149 | 9:16 | 0 | 16.02 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 148 | 17:15 | 149 | 9:16 | 0 | 16.02 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 304597 | 304654 | 57 | 58 | CR10-2 |  | 149 | 9:30 | 149 | 9:30 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 149 | 9:30 | 149 | 9:30 | 0 | 0 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 304654 | 305513 | 859 | 59 | CR10-1 |  | 148 | 17:15 | 149 | 19:30 | 1 | 2.25 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4
1993 |  | 356228 | 305513 | 307621 | 60 | CR10-2 |  | 158 | 20:15 | 224 | 16:45 | 65 | 20.5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | Starting Day 213, cables to load cells ripped out by discharge in research tunnel. More...'
1993 | [7 empty] | 158 | 20:00 | 224 | 16:47 | 65 | 20.78 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9 | [25 empty] | Also, not sure about start pont for this; should have been same as end point since data overwrote itself. I call this logger CR10-1 in field book, though I call it CR10-2 in this document. Strange...
1993 |  | 305513 | 352082 | 46569 | 61 | CR10-2 |  | 224 | 17:00 | 225 | 6:00 | 0 | 13 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | No load cell data. Should be fewer number of data points then are indicated by the stop/start numbers. Probably related to the problem with file above.
1993 | [7 empty] | 224 | 17:00 | 225 | 6:00 | 0 | 13 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 352082 | 355051 | 2969 | 62 | CR10-2 |  | 225 | 6:15 | 225 | 11:15 | 0 | 5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | No load cell data
1993 | [7 empty] | 225 | 6:15 | 225 | 11:15 | 0 | 5 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9
1993 |  | 2 | 1082 | 1080 | 63 | CR10-1 |  | 223 | 20:15 | 224 | 16:45 | 0 | 20.5 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | Start numbers now refer to SM which was attached on JD 222, 10/8-93. Unfortunately, data from logger were not successfully dumped into SM until later (see DATA066.DAT).
1993 |  | 1082 | 1772 | 690 | 64 | CR10-1 |  | 224 | 17:00 | 225 | 6:00 | 0 | 13 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4
1993 |  | 1772 | 1786 | 14 | 65 | CR10-1 |  | 225 | 6:15 | 225 | 6:15 | 0 | 0 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4
1993 |  | 1786 | 31682 | 29896 | 66 | CR10-1 |  | 201 | 17:30 | 225 | 6:00 | 23 | 12.5 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | Includes data written to previous files...
1993 |  | 31682 | 32021 | 339 | 67 | CR10-1 |  | 225 | 6:30 | 225 | 12:45 | 0 | 6.25 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4
1993 |  | 32021 | 33465 | 1444 | 68 | CR10-1 |  | 225 | 13:00 | 226 | 16:30 | 1 | 3.5 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4
1993 |  | 33465 | 39212 | 5747 | 69 | CR10-1 |  | 226 | 16:45 | 231 | 7:00 | 4 | 14.25 | 900 | 104 |  | 2 | 3 |  | 8 | [14 empty] | 6 | 5 |  |  |  | 7 | 4 | [15 empty] | Mislabelled in field notebook as DATA070.DAT, and so on for the rest.
1993 |  | 356228 | 4525 | 6633 | 70 | CR10-2 |  | 225 | 11:30 | 226 | 16:30 | 1 | 5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 225 | 11:30 | 226 | 16:30 | 1 | 5 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9 | [25 empty] | No load cell data
1993 |  | 4525 | 4582 | 57 | 71 | CR10-2 |  | 226 | 16:45 | 226 | 16:45 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 | [7 empty] | 226 | 16:45 | 226 | 16:45 | 0 | 0 | 900 | 211 |  | 2 | 3 | [7 empty] | 4 | 5 | 6 | 7 | 8 | 9 | [25 empty] | No load cell data
1993 |  | 4582 | 22864 | 18282 | 72 | CR10-2 |  | 226 | 17:00 | 231 | 7:00 | 4 | 14 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | Removed load cell instruction because wires were severed during flood event.
1993 |  | 22664 | 22706 | 42 | 73 | CR10-2 |  | 231 | 7:15 | 231 | 7:15 | 0 | 0 | 900 | 124 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 22706 | 281316 | 258610 | 74 | CR10-2 |  | 231 | 7:30 | 300 | 9:00 | 69 | 1.5 | 900 | 124 |  | 2 | 3 |  | 19 | 21 |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1993 |  | 281316 | 39212 | 116232 | 75 | CR10-2 |  | 300 | 10:00 | 45 | 19:30 | 110 | 9.5 | 1800 | 123 |  | 2 | 3 |  | 19 | 21 |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 |  | 39212 | 39226 | 14 | 76 | CR10-2 |  | 231 | 7:15 | 231 | 7:15 | 0 | 0 | ? | 105 |  | 2 | 3 | [6 empty] | 4-8
1994 |  | 39226 | 40802 | 1576 | 77 | CR10-2 |  | 48 | 20:38 | 48 | 20:38 | 0 | 0 | 300 | 102 |  | 2 | 3 | [5 empty] | 4-7 | [32 empty] | Incudes some extra data in the beginning taken at 1 and 10 second intervals.
1994 |  | 129840 | 149536 | 19696 | 78 | CR10-1 |  | 45 | 20:00 | 56 | 8:00 | 10 | 12 | 1800 | 123 |  | 2 | 3 |  | 19 | 21 |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 |  | 149536 | 149693 | 157 | 79 | CR10-1 |  | 56 | 8:30 | 56 | 10:00 | 0 | 1.5 | 1800 | 123 |  | 2 | 3 |  | 19 | 21 |  | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 |  | 149693 | 291873 | 142180 | 80 | CR10-1 |  | 56 | 10:30 | 99 | 8:30 | 42 | 22 | 1800 | 123 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 | [7 empty] | 56 | 10:30 | 99 | 8:15 | 42 | 21.75 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | Load cells connected again, but not 100% sure of ordering
1994 |  | 291873 | 302446 | 10573 | 81 | CR10-1 |  | 99 | 8:45 | 102 | 13:00 | 3 | 4.25 | 1800 | 123 |  | 2 | 3 |  | 19 | 21 | 22 | 20 | [18 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 | [7 empty] | 99 | 8:30 | 102 | 13:00 | 3 | 4.5 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 302446 | 302490 | 44 | 82 | CR10-1 |  | 102 | 13:11 | 102 | 13:11 | 0 | 0 | 900 | 123 |  | 2 | 3 |  | 19 | 21 | 22 | 20 |  | 23-24 | [16 empty] | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1994 |  | 302490 | 302521 | 31 | 83 | CR10-1 |  | 102 | 13:15 | 102 | 13:30 | 0 | 0.25 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 302521 | 303104 | 583 | 84 | CR10-1 |  | 102 | 13:52 | 102 | 14:06 | 0 | 0.23 | 10 | 123 |  | 2 | 3 | [23 empty] | 11: 4; 12: 5 | Calibration of Neal's bump
1994 |  | 303104 | 303225 | 121 | 85 | CR10-1 |  | 102 | 14:15 | 102 | 16:00 | 0 | 1.75 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 303225 | 304171 | 946 | 86 | CR10-1 |  | 102 | 16:15 | 103 | 7:45 | 0 | 15.5 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 304171 | 341777 | 37606 | 87 | CR10-1 |  | 103 | 8:00 | 129 | 10:30 | 26 | 2.5 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 341777 | 343383 | 1606 | 88 | CR10-1 |  | 129 | 10:45 | 130 | 13:15 | 1 | 2.5 | 900 | 211 |  | 2 | 3 | [7 empty] | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 |  | 343383 | 344999 | 1616 | 89 | CR10-1 |  | 130 | 13:45 | 131 | 13:15 | 0 | 23.5 | 900 | 213 |  | 2 | 3 |  |  | 10 (PiM) |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-05-28 | 344999 | 14794 | 28131 | 90 | CR10-1 | ENG-1 | 131 | 13:30 | 148 | 17:45 | 17 | 4.25 | 900 | 213 |  | 2 | 3 |  |  | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-07-08 | 14794 | 14833 | 39 | 91 | CR10-1 | ENG-1 | 148 | 18:15 | 148 | 18:30 | 0 | 0.25 | 900 | 213 |  | 2 | 3 |  | 11 | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-07-08 | 14833 | 89276 | 74443 | 92 | CR10-1 | ENG-1 | 148 | 18:45 | 189 | 14:00 | 40 | 19.25 | 900 | 213 |  | 2 | 3 |  | 11 | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-07-10 | 89276 | 93438 | 4162 | 93 | CR10-1 | ENG-1 | 189 | 14:15 | 191 | 20:45 | 2 | 6.5 | 900 | 213 |  | 2 | 3 |  | 11 | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-07-15 | 93438 | 101590 | 8152 | 94 | CR10-1 | ENG-1 | 191 | 21:00 | 196 | 8:00 | 4 | 11 | 900 | 213 |  | 2 | 3 |  | 11 | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering
1994 | 1994-10-11 | 101590 | 261210 | 159620 | 95 | CR10-1 | ENG-1 | 196 | 8:15 | 283 | 20:16 | 87 | 12.02 | 900 | 213 |  | 2 | 3 |  | 11 | 10 |  |  |  |  | 8 | 9 | 7 | 6 | 4 | 5 | [25 empty] | * not 100% sure of ordering. No load cell data after Day 220 because because the wires were from the lab were cut.
1994 | 1994-10-12 | 261210 | 262967 | 1757 | 96 | CR10-1 | ENG-1 | Data not saved |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  | - | - | - | - |  |  | - | - | [15 empty] | Data file overwritten at a later date | bar: 4 to 18
1994 | 1994-10-12 | 262967 | 262984 | 17 | 97 | CR10-1 | ENG-1 | Data not saved |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  |  | - | - | - | - |  |  | - | - | [15 empty] | " | bar: 4 to 18
1994 | not sure | not sure | not sure |  | 96 | CR10-1 | not sure | 285 | 12:30 | 13 | 14:00 | 93 | 1.5 | 900 | 114 |  | 2 | 3 |  | 10** | 11** |  |  |  |  | 9 | 8 | 4 | 5 | 7 | 6 | [25 empty] | Data file renamed 096 at a later date **Batt/temp every hour only * Load cells connected again, but not 100% sure of ordering
1995 | not sure | not sure | not sure |  | 97 | CR10-1 | not sure | 13 | 14:16 | 35 | 13:00 | 21 | 22.73 | 900 | 114 |  | 2 | 3 |  | 10** | 11** |  |  |  |  | 9 | 8 | 4 | 5 | 7 | 6 | [25 empty] | Data file renamed 097 at a later date **Batt/temp every hour only * Not 100% sure of load cell ordering
1995 | not sure | not sure | not sure |  | 98 | CR10-1 | not sure | 55 | 0:45 | 89 | 7:01 | 34 | 6.27 | 900 | 114 |  | 2 | 3 |  | 10** | 11** |  |  |  |  | 9 | 8 | 4 | 5 | 7 | 6 | [25 empty] | Data file renamed 098 at a later date. All -99999s replaced with zeros **Batt/temp every hour only * Not 100% sure of ordering
1995 | after 13.1.95 | 262984 | 47690 | 143042 | not sure | CR10-1 | ENG-1 | not sure | [48 empty] | Probably 096
1995 | 1995-03-06 | 324518 | 358246 | 33728 | not sure | CR10-1 | ENG-2 | not sure | [48 empty] | Probably 097
1995 | 1995-04-19 | 47690 | 100343 | 52653 | not sure | CR10-1 | ENG-1 | not sure | [48 empty] | Probably 098, together with next one
1995 | 1995-04-19 | 100343 | 100694 | 351 | not sure | CR10-1 | ENG-1 | not sure
ALL DATA BETWEEN MARCH 30 1995 AND SEPTEMBER 20 1996 ARE MISSING
NB: WE SHOULD LOOK FOR ANY MISSING DATA ON THE NEXT VISIT TO THE LAB
New naming scheme:
1996 | 1997-03-05 | 203139 | 100735 | 255932 | 1 | CR10-2* | ENG-2 | 264 | 9:15 | 64 | 17:00 | 165 | 7.75 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | [25 empty] | *Not sure when I changed the data logger.
1997 | 1997-07-11 | 100372 | 296533 | 196161 | 2 | CR10-2* | ENG-2 | 64 | 17:15 | 192 | 10:00 | 127 | 16.75 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-07-27 | 296533 | 321445 | 24912 | 3 | CR10-2* | ENG-2 | 192 | 10:15 | 209 | 16:45 | 17 | 6.5 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-03 | 321445 | 114087 | 150978 | 4 | CR10-2* | ENG-2 | 209 | 17:00 | 307 | 22:30 | 98 | 5.5 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-09 | 114087 | 122664 | 8577 | 5 | CR10-2* | ENG-2 | 307 | 22:45 | 313 | 12:30 | 5 | 13.75 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-11 | 122664 | 125707 | 3043 | 6 | CR10-2* | ENG-2 | 313 | 12:45 | 315 | 12:00 | 1 | 23.25 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-11 | 125707 | 125723 | 16 | 7 | CR10-2* | ENG-2 | 315 | 12:15 | 315 | 12:15 | 0 | 0 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-12 | 125723 | 127324 | 1601 | 8 | CR10-2* | ENG-2 | 315 | 12:30 | 316 | 13:15 | 1 | 0.75 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-13 | 127324 | 127453 | 129 | 9 | CR10-2* | ENG-2 | 316 | 13:30 | 316 | 15:15 | 0 | 1.75 | 900 | 114 |  | 2 | 3 |  | 10 | 11 (PiM) |  |  |  |  | 6 | 4 | 8 | 7 |  | 5
1997 | 1997-11-13 | 127453 | 128060 | 607 | 10 | CR10-2* | ENG-2 | 316 | 15:30 | 317 | 24:45 | 1 | 9.25 | 900 | 114 |  | 2 | 3 |  | 10* | 11* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | [25 empty] | *Batt/temp every hour only
1997 | 1997-11-13 | 128060 | 128878 | 818 | 11 | CR10-2* | ENG-2 | 317 | 1:00 | 317 | 13:30 | 0 | 12.5 | 900 | 114 |  | 2 | 3 |  | 10* | 11* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | [25 empty] | *Batt/temp every hour only
1997 | 1997-11-13 | 128878 | 129184 | 306 | 12 | CR10-2* | ENG-2 | 317 | 13:46 | 317 | 17:46 | 0 | 4 | 900 | 114 |  | 2 | 3 |  | 11* | 12* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | 10 | 9 | [23 empty] | Start logging 2 new load cells. *Batt/temp every hour only
1997 | 1997-11-13 | 129184 | 129240 | 56 | 13 | CR10-2* | ENG-2 | 317 | 18:01 | 317 | 18:31 | 0 | 0.5 | 900 | 114 |  | 2 | 3 |  | 11* | 12* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | 10 | [24 empty] | *Batt/temp every hour only
1997 | 1997-11-13 | 129934 | 129954 | 20 | 14 | CR10-2* | ENG-2 | 317 | 18:45 | 317 | 18:45 | 0 | 0 | 900 | 114 |  | 2 | 3 | [7 empty] | 6 | 4 | 8 | 7 |  | 5 | 9** | ** |  |  |  |  | 11 | 10 | [17 empty] | Start logging 2 new load cells again, plus 2 Pressure transducers.
1997 | 1997-11-13 | 130301 | 130327 | 26 | 15 | CR10-2* | ENG-2 | 317 | 19:01 | 317 | 19:01 | 0 | 0 | 900 | 114 |  | 2 | 3 |  | 13* | 14* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | 10 | 9 |  |  |  |  | 12 | 11 | [17 empty] | *Batt/temp every hour only
1997 | 1997-11-14 | 130327 | 131690 | 1363 | 16 | CR10-2* | ENG-2 | 317 | 19:16 | 318 | 10:31 | 0 | 15.25 | 900 | 114 |  | 2 | 3 |  | 13* | 14* |  |  |  |  | 6 | 4 | 8 | 7 |  | 5 | 10 | 9 |  |  |  |  | 12 | 11 | [17 empty] | *Batt/temp every hour only
1997 | 1997-11-20 | not sure | not sure |  | 17 | CR10-2* | ENG-2 | 318 | 10:46 | 324 | 16:31 | 6 | 5.75 | 900 | 114 |  | 2 | 3 | [7 empty] | 6 | 4 | 8 | 7 |  | 5 | 10 | 9 |  |  |  |  | 12 | 11
1997 | 1997-11-24 | not sure | not sure |  | 18 | CR10-2* | ENG-2 | 324 | 16:45 | 328 | 18:31 | 4 | 1.77 | 900 | 114 |  | 2 | 3 | [7 empty] | 6 | 4 | 8 | 7 |  | 5 | 10 | 9 |  |  |  |  | 12 | 11
. | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | . | Geonor 34792 Hole #4 | Geonor 34992 Hole # 6 | Geonor 34892 Hole # 2a | Geonor 34792 Hole # 2b | Geonor 36992 Hole # 7 | Geonor 36892 Hole # 1e | Geonor 37692 Hole # 97-1 | Geonor 38292 Hole # 97-2 | . | . | . | . |  |  | . | . | [15 empty] | . | bar: 4 to 18